## Sheet1
Product Name | Model Number | Reported Date | Country/Region | Event Description
Pacing Catheter | Model 1 | 2024-01-01 | USA | The catheter was left inside the patient following a TAVR procedure and the patient coded, was intubated and is now recovering. Pre procedure, the catheter was floated into the RV vein via internal jugular access. During the procedure, rapid pace was set at 180-200 BPM during valve deployment and intermittent beats occurred. Troubleshooting was done which did not resolve the issue. The procedure was completed successfully and the patient was brought to the unit. A couple hours later, the device was still pacing. Approximately an hour later, the patient went into asystole, the device lost capture and the patient coded and was intubated. The patient is now recovering. Per the customer, there have been no issues with other patients.
Retrieval Catheter | Model 2 | 2024-01-02 | France | During a TAVI procedure, a cardiac perforation occurred, and the patient expired. Everything went well with the valve placement and the patient was transferred to the ICU where the temporary pacemaker needed to be removed as a protocol in all procedures, but the ventricle perforated. A few minutes later, in the recovery room, the patient presented with low blood pressure/hypotension and the echo examination identified the effusion and needed to be referred for open surgery for drainage. This led to prolonged hospitalization and intubation. The patient later expired. There were no alleged performance issues with any devices.
Implantable Cardiac Monitor | Model 3 | 2024-01-03 | Germany | It was reported that the implantable cardiac monitor (ICM) detected a false tachycardia episode due to over-sensed electromagnetic interference and noise. The ICM remains in use. No patient complications have been reported as a result of this event.
PTCA Catheter | Model 4 | 2024-01-04 | USA | It was reported that balloon rupture occurred. The target lesion was located in a coronary artery. A balloon catheter was advanced to dilate the lesion. However, during inflation, the balloon ruptured. The procedure was completed with another device. No patient complications were reported.
Guidewire | Model 5 | 2024-01-05 | France | A temporary transvenous pacemaker was placed through the femoral vein, which was removed the next day after placement of a permanent pacemaker. With the removal of the temporary pacemaker, there was a new pericardial effusion with hemodynamic compromise, presuming right ventricular perforation. The patient had to be taken to the operating room for drainage and resolution of any perforation.
Insulin Pump | Model 6 | 2024-01-06 | Japan | Customer called to report issues with sensor glucose versus blood glucose differences. Customer's blood glucose reading was 193 mg/dl, while the sensor glucose was 74 mg/dl. Insulin delivery was suspended due to sensor glucose values. Sensor glucose value that triggered the suspend event was 60 mg/dl. Customer stated that the threshold suspend alarm was set at 70 mg/dl. Therefore, sensor glucose and blood glucose difference was not within acceptable range. Troubleshooting was done. Product is not expected to return.
Pacing Catheter | Model 7 | 2024-01-07 | Netherlands | During the procedure for bradycardia, when the output was increased at the apex and pacing was performed, the pacing was unsuccessful. Pacing was successful without issues when changing the catheter. There were no adverse patient consequences.
Implantable Pulse Generator | Model 8 | 2024-01-08 | Australia | Customer complained of connection issue with transmitter. Troubleshooting was not performed and no further details were given. It was unknown whether the customer will continue to use the device. No harm requiring medical intervention was reported. The device will not be returned for analysis.
Guidewire | Model 9 | 2024-01-09 | USA | It was reported that during the implant procedure, the patient experienced pericardial tamponade due to a perforation that likely occurred during the first attempts to implant the lead in the right ventricle. Pericardiocentesis was performed and the patient was stable post implant. The final lead placement appeared stable, so it was left in place and remains in use. No further patient complications have been reported as a result of this event.
Suture | Model 10 | 2024-01-10 | Italy | It was reported that a patient underwent an unknown procedure and suture was used. During the procedure, the threads pulled off spontaneously, sometimes even simply by removing them from their packaging. There were no patient consequences reported. Additional information was requested.